- BARNES-JEWISH HOSPITAL

- ORGANIZATIONAL POLICIES/PROCEDURES

## TITLE: Therapeutic Radioactive Materials (TRAM) Precaution Policy

- SUBMITTED/REVIEWED BY: Nicole Chrisman, MSN, RN

- Consultant, Professional Practice

- LAST REVIEWED/REVISION DATE: JOSE L GARCIA RAMIREZ, MS , MEDICAL PHYSICIST 12/08

Purpose

The purpose is to protect patients, visitors, and personnel from unwarranted exposure, and to keep radiation exposure to ALARA (as low as reasonably achievable) levels, while providing adequate and necessary care to patients containing therapeutic radioactive material (TRAM).

Definitions

TRAM Therapies

- Temporary Radioactive Implants (need source removal prior to patient discharge).

  - Eye Plaque  Therapy

  - Iridium Seed In ribbons Therapy

- Permanent Radioactive Implants ( do not need source removal for patient discharge)

  - I-125 Seed Implants in lungs and prostates

  - Any Radiopharmaceutical patient.

Nuclear Regulatory Commission (NRC) – Federal agency that governs the use of TRAM in medicine.  They dictate safe radiation levels of staff operation and patient radiation safety release guidelines.

ALARA Levels- occupational and general public radiation exposure levels that regulatory agency (NRC) has establish to be safe.

Policy Statements

- Patients receiving any type of TRAM therapy must be in a private room. No other patients shall share room.

- Patients are to be assigned only to staff members who have had the annual radiation in-service training provided by radiation oncology physics or radiation safety office staff, and who, based on the radiation safety office recommendations, are required to be issued a radiation exposure monitoring badge.

- Patients admitted in the hospital because of radiation safety considerations to the general public shall not be released / discharged until approved by radiation oncology brachytherapy center.

- Rooms used by TRAM patients shall not be assigned to other patients until it has been cleared by radiation oncology brachytherapy center or radiation safety office staff.

- Before tending to patients containing TRAM, the nursing staff must be aware of the “nursing procedures/instructions” for the particular TRAM therapy that is being provided to the patient she or he is tending.  See attachments for the additional nursing instructions.

- Additional instructions to nurses, patient care and housekeeping staff may be posted on the patient’s room door.  Nursing staff must be aware of all the instructions and postings on the patients’ door.

- RN's, LPN's, PCT's should be provided their own radiation badges to monitor for radiation exposure when              caring for a patient who is receiving radiation treatment.   The Radiation Safety Office will determine when to issue such a radiation monitors.

- Staff, patients, and significant others will be made aware of procedure. Specific “Nursing Procedures" addressing radiation control procedures are available and posted on the door to each patient's room.   See “Nursing Procedure” listed below for care details.

- All hospitalized patients being treated with therapeutic radioactive materials (TRAM) must wear a special radioactive wrist band with patient name, radioactive isotope type, and amount of TRAM. This band identifies the patient as a radioactive patient.  The bands are placed immediately prior to administration of the TRAM and are removed when the treatment is completed or when the patient is discharged.

- The rooms of patients containing TRAM, that can not be released / discharged because of exposure levels to the general public, shall be posted with “Radioactive Materials” sign.

- Patient medical care must not be hampered due to the patients radioactivity conditions.

Policy Implementation Procedures

- Three basic principles to utilize to minimize radiation exposure to the staff and visitors:

- a. Time - minimize time in room or near a patient containing radioactive materials

- b. Distance-maintain distance from patient containing radioactive materials

- c. Shielding- stand behind shield when available

- When deemed necessary to maintain radiation exposure ALARA (as low as reasonably achievable) the radiation oncology brachytherapy center staff, along with the cooperation of the nursing staff caring for the patient, will direct the correct placement of bedside radiation shields.

- Iodine –125 seed eye plaques patients will have a lead shield, wrapped in gauze, placed over their eye to reduce the radiation exposure around them.

- Iodine-125 permanent lung implant and prostate implant patients do not require the use of shielding around them.  ALARA levels can be attained by using time and distance to minimize exposure to ALARA levels.   However, we, the Radiation Oncology Brachytherapy Center, encourage the use of shields and encourage the staff to work behind them when possible.   The use of shields must not hamper the appropriate medical care for patients.  If bedside shields are hampering the medical care of the patient or for any other questions please contact the Radiation Oncology Brachytherapy Center Physics Section or Radiation Safety Office.

- Sirtex/Therasphers/Zevalin//P-32/Sm-153 patients do not require the use of shielding around them.  ALARA levels can be attained by using time and distance to minimize exposure to ALARA levels.   However, we, the Radiation Oncology Brachytherapy Center, encourage the use of shields and encourage the staff to work behind them when possible.   The use of shields must not hamper the appropriate medical care for patients.  If bedside shields are hampering the medical care of the patient or for any other questions please contact the Radiation Oncology Brachytherapy Center Physics Section or Radiation Safety Office.

- Bedside shields shall be placed around admitted patients that contain manually loaded Ir-192 Ribbon temporary implants and patients administered radiopharmaceuticals that can not be release/discharged from the hospital, due to their exposure to the public

- When available; the nursing staff must work behind the shields when possible.

- When deemed necessary, radiation oncology brachytherapy center and/or the radiation safety office staff will be responsible for placing radioactive waste containers and radioactive linen containers within the rooms of patients containing TRAM.  They will also be responsible for pickup and disposal of such waste and linens.

- Urine, feces, sputum, emesis, linens, dressings, clothing and instruments from patients with TRAM may be disposed of in the usual manner unless otherwise indicated below:

- Radiopharmaceuticals Patient’s urine, feces, sputum, emesis may be disposed off through the proper hospital drain system within the patients room (toilet, shower, sink).

- Radiopharmaceutical Patient’s linens, dressings, clothing, utensils, and instruments should be disposed of in designated radioactive containers within the patient’s room until they are surveyed by Radiation Oncology Brachytherapy Center of Radiation Safety Office Staff.

- Seeds of Permanent Implants: Infrequently, patients can “pass” seeds.  The sputum from patients with lung implants and urine bag’s from patients with prostate implants should be visually inspected / monitored before disposing as regular trash or biohazard trash.

  - I-125 Seeds:  If a radioactive seed is found, and only if possible, it should be picked up with long forceps or spoon, by holding at arms length, and placed in a urine specimen cup or metallic container. Secure the cup or container in a location away from other staff members and public and immediately notify the Brachytherapy Center staff and Radiation Safety Office.  However, it is not the responsibility of nursing staff to retrieve or handle sources,  If the source is in a location that does not permit a clean and safe retrieval or you do not want to handle the source, please contact Radiation Safety Office Immediately.

- The used linens of patients undergoing manual implant therapy should be checked for dislodged radiation source/seeds.

  - I-125 Seeds:  If a radioactive seed is found, it should be picked up with long forceps   or spoon, by holding at arms length, and placed in a urine specimen cup or metallic container. Secure the cup or container in a location away from other staff members and public and immediately notify the Brachytherapy Center staff and Radiation Safety Office. However, it is not the responsibility of nursing staff to retrieve or handle sources , If the source is in a location that does not permit a clean retrieval of the source or you do not want to handle the source,  please contact Radiation Safety Office Immediately.

  - Ir-192 Ribbons/Sources: If a radioactive source is found, it should be picked up with long forceps, by holding at arms length, and placed in the provided radiation shield container (pig) within the patient’s.  Immediately notify the Brachytherapy Center staff and Radiation Safety Office.  However, it is not the responsibility of nursing staff to retrieve or handle sources , If the source is in a location that does not permit a clean and safe retrieval or you do not want to handle the source, please contact Radiation Safety Office Immediately.

- Vomitus/Urine or Bodily fluid/Solid  and other Spills from radiopharmaceutical patients

  - Protective Gear (gloves, gowns, shoe covers and masks) must be worn when attempting to clean the spills or handle any items associated with the patient.  Extreme care must be used and all items used in the clean up process must be left within the room in the proper radioactive waste container.  Any contaminated clothing must be placed in the radioactive linen containers.  Contact the radiation safety office immediately to aid in clean up.

- TRAM patients can not be released/discharged form the hospital until cleared by the Brachyhterapy Center Staff and/or the Radiation Safety Office.  When the radiation levels around the patient meet regulatory guidelines, the Brachytherapy center staff will inform the nursing area that the patient can be released /discharged from the hospital.  This is done using different procedures, forms and documents depending on the particular therapy being administered.

- After discharging a patient receiving TRAM, the room must be LOCKED and SECURED AND NOT USED UNTIL RELEASED by Radiation Safety Office or Brachytherapy Center Staff.

- The room must be  locked and posted with a sign that indicates the status of the room after discharge of a hospitalized TRAM patient.  Discharge cleaning of the room can not be permitted until the room has been decontaminated and surveyed by Radiation Safety and released for cleaning as indicated by the posted room status form. If you are unsure about the status of  the room, call Radiation Safety (362-3476)

- Management of expired patients containing TRAM:

- a. Notify Radiation Oncology Physics and Radiation Safety Office IMMEDIATELY.

- b. Refer to Expiration policy.

- D.  Evaluation/Documentation

- 1.   Document the patient's response to treatment, drainage/discharge, skin assessment, and placement

- of applicators.

- Assess and document pain intensity, location, duration, interventions and outcomes.

- 3.   Document all teaching given to patient/significant other.

E.   Patient/Significant Other Teaching

Radiation Oncology Brachytherapy Center staff and nursing staff are responsible for pre-procedure, post- procedure, and discharge instructions.  Instructions are specific to the type of TRAM and should also include equipment, isolation procedures, diet, and reporting of signs and symptoms.

- CONTACT INFORMATION/EMERGENCY PHONE NUMBERS

(1) During business hours first call Brachytherapy Technologist On Call (826-3737)

(2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918).

- (3) If there is no answer page Radiation Safety Office (362-3476 or 826-3440) and Radiation Oncology Resident On-Call (253-0553)

- Resources/References:

Jose L Garcia Ramirez, Brachytherapy Physicist

Attachments:

- Nursing Procedure for Patients Containing:

Iodine-125 Seed Eye Plaques

- Radioactive Iodine Seeds (I-125 Lung & Prostate)

Manually Loaded Iridium Seeds in Ribbon

- Radioactive Yttrium-90 Microspheres (Sir-Spheres or Therasphers)

Radioactive Iodine (Nal-131)

Radioactive Iodine I-131  (MIBG)

Radioactive Iodine I-131 (Neuradiab)

Radioactive Chromic Phosphate (P-32)

Approval:

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

TEMPORARY RADIOACTIVE IODINE I-125 SEED EYE PLAQUES IMPLANTS

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. The eye plaque used in this patient contains sealed I-125 radioactive sources that can externally irradiate others in the room. A lead shield, wrapped in gauze, is placed over patient’s eye to reduce the radiation exposure around the patient. External radiation to the nurse may be further reduced by keeping as much distance and shielding as possible between the radioactive sources and the nurse, and by minimizing the time spent near the patient. Consistent with adequate patient care, carry out minimum nursing procedures close to the patient in the minimum amount of time. Because I-125 is very low in energy and because of the eye shield over the eye and gold shield over the distal plaque surface, the radiation exposure levels are generally very low. Please always replace the patient’s lead eye shield in the same position if it has to be removed for patient care purposes. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy with radioactive materials must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. |
| Postings and Labels | A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) NRC Form 3: Notice to Employees (8) Emergency Contact Information. The patient has a wrist band indicating the presence of radioactive materials. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | No special contamination isolation procedures are required for these patients. |
| Patient Care Instructions | No special precautions are needed for sputum, urine, emesis, stool, instruments, utensils, or bedding. |
| Patient Instructions | Patients resting out of bed should sit in the designated patient's chair. Patient should not wonder the halls unnecessarily. |
| Housekeeping Instructions | Housekeeping procedures such as emptying wastebaskets, floor care and linen changes should be kept to a minimum. Further housekeeping services shall be performed only when deemed necessary by the nurses. Housekeeping personnel should minimize their time in the room and keep their distance from the patient. |
| Shielding | When not being provided care, the eye shield must always be in place. |
| Visitors | Pregnant women and those under 18 years of age may visit the patient for up to 30 minutes per day. Other adults may have unlimited visitation privileges. Whenever visitors are present, the patient must wear a lead foil eye shield over the implanted eye. Visitors should be advised to sit in the visitor's chair at least 6 feet from the patient. |
| Source Removal | The nursing staff does not have any responsibility in source removal other than to make sure patient is sent for source removal in the Operating Room at the appropriate time. If a source is found, please contact Radiation Oncology Physics and Radiation Safety Office |
| Patient Release | Patient can not be release/ discharged from the hospital until sources/plaque has been removed from the eye. |
| Room Release | Once sources have been removed from the eye, the room can be assigned to another patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

PERMANENT RADIOACTIVE IODINE I-125 SEEDS LUNG IMPLANTS

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive seeds that can externally irradiate others in the room. The seeds are sutured to the lung. The levels of radiation emitted by this patients are so low that if patients where not hospitalized they would be capable of leaving the hospital. While these seeds produce much less penetrating radiation than other sources, external radiation to the nurse may be reduced by keeping as much distance and shielding as possible between the radioactive sources and the nurse, and by minimizing the time spent near the patient. Consistent with adequate patient care, carry out nursing procedures close to the patient in the minimum amount of time. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy with radioactive materials must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. If the patient needs to be placed in an Observation Unit, efforts shall be made to locate the patient as far away from non-radioactive patients as possible and if available, use portable shields. Please contact Radiation Safety for assistance. |
| Postings and Labels | A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) NRC Form 3: Notice to Employees (8) Emergency Contact Information. The patient has a wrist band indicating the presence of radioactive materials. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | No special contamination isolation procedures are required for these patients. |
| Patient Care Instructions | No special precautions are needed for urine, emesis, stool, instruments, utensils, or bedding. |
| Patient Instructions | Patients resting out of bed should sit in the designated patient's chair. Patient should not wonder the halls unnecessarily. |
| Housekeeping Instructions | Housekeeping procedures such as emptying wastebaskets, floor care and linen changes should be kept to a minimum. Further housekeeping services shall be performed only when deemed necessary by the nurses. Housekeeping personnel should minimize their time in the room and keep their distance from the patient. |
| Shielding | A portable lead shield should be placed near the patient, on the side of the surgery, to minimize radiation exposure. |
| Visitors | Pregnant women and those under 18 years of age may visit the patient for up to 30 minutes per day. Other adults may have unlimited visitation privileges. Whenever visitors are present, the patient must sit behind portable shields. Visitors should be advised to sit in the visitor's chair at least 6 feet from the patient. |
| Source Removal | The nursing staff does not have any responsibility in source removal. Sources are permanently implanted. If source is found please contact Radiation Safety Office immediately. |
| Patient Release | Exposure measurements are taken immediately after implantation (in the O.R.) to asses if the patient can be released/discharge based on regulatory (NRC) guides. Documentation for this can be found in the patients Radiation Oncology chart. Most of the patients can be release/discharged from the hospital immediately after implantation if they are medically stable. If patient does not meet regulatory requirements for release, the Radiation Oncology Staff will make arrangements to have the patient admitted. |
| Room Release | Rooms/Areas where the patient was confined can be assigned to non-radioactive patients immediately following release/discharge of the patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

PERMANENT RADIOACTIVE IODINE I-125 SEEDS PROSTATE IMPLANTS

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive seeds that can externally irradiate others in the room. While these seeds produce much less penetrating radiation than other sources, external radiation to the nurse may be reduced by keeping as much distance and shielding as possible between the radioactive sources and the nurse, and by minimizing the time spent near the patient. Consistent with adequate patient care, carry out nursing procedures close to the patient in the minimum amount of time. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy with radioactive materials must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. If the patient needs to be placed in an Observation Unit, efforts shall be made to locate the patient as far away from non-radioactive patients as possible. Please contact Radiation Safety for assistance. |
| Postings and Labels | Postings should be placed only if the patient, immediately post administration, is admitted to the hospital. A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) NRC Form 3: Notice to Employees (8) Emergency Contact Information. If the patient is admitted, the patient should be identified with a wrist band indicating the presence of radioactive materials. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | No special contamination isolation procedures are required for these patients. |
| Patient Care Instructions | No special precautions are needed for urine, emesis, stool, instruments, utensils, or bedding. |
| Patient Instructions | Patients resting out of bed should sit in the designated patient's chair. Patient should not wonder the halls unnecessarily. |
| Housekeeping Instructions | Housekeeping procedures such as emptying wastebaskets, floor care and linen changes should be kept to a minimum. Further housekeeping services shall be performed only when deemed necessary by the nurses. Housekeeping personnel should minimize their time in the room and keep their distance from the patient. |
| Shielding | Because the radiation levels from this patients are lower than regulatory limits for release this patients are not required to have portable shields placed near or around them. |
| Visitors | Pregnant women and those under 18 years of age may visit the patient for up to 30 minutes per day. Other adults may have unlimited visitation privileges. Whenever visitors are present, the patient must sit behind portable shields. Visitors should be advised to sit in the visitor's chair at least 6 feet from the patient. |
| Source Removal | The nursing staff does not have any responsibility in source removal. Sources are permanently implanted. If source is found please contact Radiation Safety Office immediately. |
| Patient Release | Exposure measurements are taken immediately after implantation (in the O.R.) to asses if the patient can be released/discharge based on regulatory (NRC) guides. Documentation for this can be found in the patients Radiation Oncology chart. Most of the patients can be release/discharged from the hospital immediately after implantation if they are medically stable. If patient does not meet regulatory requirements for release, the Radiation Oncology Staff will make arrangements to have the patient admitted and notify all pertinent sections. |
| Room Release | Rooms/Areas where the patient was confined can be assigned to non-radioactive patients immediately following release/discharge of the patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

TEMPORARY RADIOACTIVE IRIDIUM SEEDS IN RIBBON (IR-192) IMPLANTS

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive iridium sources that can externally irradiate others in the room. External radiation to the nurse may be reduced by keeping as much distance and shielding as possible between the radioactive sources and the nurse, and by minimizing the time spent near the patient. Consistent with adequate patient care, carry out minimum nursing procedures close to the patient in the minimum amount of time. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. |
| Postings and Labels | A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) NRC Form 3: Notice to Employees (8) Emergency Contact Information. The patient should be identified with a wrist band indicating the presence of radioactive materials. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | No special contamination isolation procedures are required for these patients. |
| Patient Care Instructions | The patient contains a specific number of radioactive sources (see “Initial Source Inventory” on Radiation Safety and Source Inventory Form). Sources occasionally may be dislodged from the patients. Any bandages, bedding, or trash removed must be thoroughly inspected to make sure it doesn’t contain a dislodged source. Any inserts removed from the patient are assumed to contain sources and should be treated as sources. If a source is found, use forceps to pick it up, place it in the shielded carrier within the patient’s room and immediately notify Radiation Oncology and Radiation Safety. No special precautions are needed for sputum, urine, emesis, and stool. |
| Patient Instructions | Patient must remain in his/her bed behind shields. Patients must not move from bed as this may cause the sources to fall off. |
| Housekeeping Instructions | Housekeeping procedures such as emptying wastebaskets and removing bedding should only be done after a source check has shown all sources present. Further housekeeping services shall be performed only when deemed necessary by the nurses. Housekeeping personnel should minimize their time in the room and keep their distance from the patient. |
| Shielding | 1" thick bedside shields shall be positioned around the patient as to minimize the dose rate in uncontrolled areas. |
| Visitors | Pregnant women and those under 18 years of age are not allowed to visit any patient containing radioactive sources. Visiting is limited to 30 minutes per day per visitor. Visitors should be advised to sit in the designated visitor's chair. The nursing staff is responsible for enforcing visiting rules. |
| Source Removal | Nurses have no responsibilities concerning the insertion and removal of radioactive sources; the sources are inserted and removed by Radiation Oncology medical personnel. The patient cannot be discharged until a final radiation survey has been performed to confirm that the sources were removed. The Final Survey (Patient and Room Survey Form) must be signed by a Brachytherapy Technologist or Radiation Oncology physician before discharge. |
| Patient Release | Patient can not be release/discharged from the hospital until Radiation Oncology has retrieved and accounted for all implanted sources and has performed the necessary radiation surveys. The Final Survey (Patient and Room Survey Form) must be signed by a Brachytherapy Technologist or Radiation Oncology physician before discharge. |
| Room Release | Rooms/Areas where the patient was confined can be assigned to non-radioactive patients immediately following release/discharge of the patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

RADIOACTIVE YTTRIUM-90 MICROSPHERES (SIRSPHERS or THERASPHERS)

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive yttrium-90 microspheres that can contaminate others in the room. Gloves should be worn while providing care. Since this radiation is not very penetrating, no special precautions are necessary. It is advisable to further reduce the radiation to nurses by increasing distance to patient and by minimizing the time spent near the patient. Consistent with adequate patient care, carry out nursing procedures close to the patient in the minimum amount of time. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy with radioactive materials must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. If the patient needs to be placed in an Observation Unit, efforts shall be made to locate the patient as far away from non-radioactive patients as possible. Please contact Radiation Safety for assistance. |
| Postings and Labels | A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) NRC Form 3: Notice to Employees (8) Emergency Contact Information. If the patient is admitted, the patient should be identified with a wrist band indicating the presence of radioactive materials. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | Minor isolation procedures are required for this patient. The patient should remain confined to the room. It is expected that the site of injection may contain radioactive materials, handle patient with gloves. Please see below. |
| Patient Care Instructions | This patient has received this radioisotope via infusion. It is possible that the infusion site may leak or discharge a small amount of radioactivity, particularly shortly after the injection. Any dressings or bandages removed from the infusion site should be handled with gloves as if they were radioactive. The gloves and dressings should be placed into a special radioactive waste bag and stored separately. Linens should be placed in a bag and stored separately until they are surveyed by Radiation Oncology or Radiation Safety personnel. No special precautions are needed for sputum, vomitus, stool, instruments, or utensils. |
| Patient Instructions | Patients resting out of bed should sit in the designated chair behind shields. Patient should not wonder the halls unnecessarily. |
| Housekeeping Instructions | Housekeeping personnel should minimize their time in the room and keep their distance from the patient. Contents of the radiation waste container and linens may not be removed until they are surveyed by Radiation Oncology or Radiating Safety personnel. |
| Shielding | Because the radiation levels from this patients are lower than regulatory limits for release this patients are not required to have portable shields placed near or around them. |
| Visitors | Pregnant women and those under 18 years of age are not allowed to visit any patient containing radioactive material. Visiting is limited to 30 minutes per day per visitor. |
| Source Removal | The nursing staff does not have any responsibility in source removal. Sources are permanently implanted. |
| Patient Release | Exposure measurements are taken immediately after implantation (in the O.R.) to asses if the patient can be released/discharge based on regulatory (NRC) guides. Documentation of the measurements can be found in the patient’s Radiation Oncology chart. Most of the patients can be release/discharged from the hospital immediately after implantation if they are medically stable. If, at the time of O.R. measurements, the patient does not meet regulatory requirements for release, the Radiation Oncology Staff will make arrangements to have the patient admitted and notify all pertinent sections. Admitted patients shall not be released / discharged without the authorization from Radiation Oncology Brachytherapy Center Staff. |
| Room Release | Following patient release, the room is to be secured by nursing and not assigned to another patient until decontamination surveys are completed by Radiation Safety or Radiation Oncology. Radiation Safety (362-3476) must be called to monitor the room and properly dispose of any contaminated material. The nursing station will be notified by Radiation Safety after the room decontamination is complete. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed and the room may be assigned to another patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

- RADIOACTIVE SODIUM IODINE (Nal-131)

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive iodine that results in external irradiation of others in the room and possible radioactive contamination of the room. External exposure of the nurse may be reduced by providing the required patient care in a minimum of time while maintaining as great a distance from the patient as is practical and working behind shields (if available) when possible. To prevent possible radioactive contamination, the nurses and others admitted to the room should wear disposable shoe covers, gowns, and disposable gloves. These items must be disposed off within designated bags inside or near the entrance to the room. No items that come in contact with the patient shall be taken out of the room without proper survey for contamination. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. The assigned room should be room 3233 of the 3200 Nursing Area. The room should be prepared for minimizing the spread of radioactive contamination. This includes the covering of any possible surfaces that may come in contact with the patient and placement of radioactive trash and linen containers. The radiation safety office or radiation oncology brachytherapy center staff shall make sure the rooms are prepared prior to admitting the patient. |
| Postings and Labels | A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution High Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) Emergency Contact Information (8) NRC Form 3:Notice to Employees. If the patient is admitted, the patient should be identified with a wrist band indicating the presence of radioactive materials. In addition, the patients chart should be identified with the “Radioactive Iodine/Permanent Implant” label. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | General isolation procedures are required for these patients to prevent the spread of radioactive iodine. The patient must remain confined to the room. Isolation personal hygiene kits must be provided to the patient. Patient personal belongings shall be collected prior to admission (or administration) and shall be returned to the patient upon release from the hospital. Certain personal items may be NOT allowed into the room with the patient. Please consult with Radiation Safety or Radiation Oncology. A diet consisting hand-held foods should be scheduled for these patients. If the diet is of the form other than hand-held foods, ensure that only disposable trays, utensils, dishes, and glasses are used. Disposable items brought into the room must be disposed of in the radiation trash bag. Do not perform linen changes. In the event a linen change is required, nursing will be in charge of changing the linen. The removed linen shall be placed in the radiation linen bag inside the patient’s room. Nursing shall contact the Radiation Safety Office for pick up. Patient gown change shall be handled by nursing. The patient should be encouraged to change his/her own gowns. The removed patient gowns shall be placed in the radiation linen bag inside the patient’s room. Nursing will contact the Radiation Safety Office for pickup. No items that the patient may have come in contact with shall be removed from the patient’s room without a survey for contamination. |
| Patient Care Instructions | The patient should be given the maximum care consistent with general isolation procedures. The patient should be encouraged to provide as much self care as possible. Specimens should not be collected without the authorization from radiation oncology. Body fluids spills: If patient vomits or is incontinent on his/her own clothing: wear double gloves, shoe covers, gowns, mask, and eye protector, remove patient clothing and place in radioactive trash bag, have patient take shower and provide with new gowns. Cover spill with double absorbent pads (chucks). Place waste material in the radioactive waste bag and contact Radiation Safety Spill Pager at 314-826-3440 If patient vomits or is incontinent on floor: wear double gloves, shoe covers, gowns, mask, and eye protector, cover spill with absorbent paper (chucks). Instruct patient to remain on bed and contact Radiation Safety Office Spill Pager at 314-826-3440 ; If patient vomits or is incontinent on bed linen: wear double gloves, gowns, mask, shoe covers, and eye protector, remove linen and place in radioactive trash bag, and contact Radiation Safety Spill Pager at 314-826-3440 |
| Patient Instructions | Patients resting out of bed should sit in the designated chair behind shields. Patients should keep well-hydrated and urinate often; sit on the toilet while voiding, minimize time on the toilet, and flush toilet at least 3 times after each use ; Provide as much self-care as possible ; Remain behind portable shields whenever possible ; place all trash in radioactive waste container; place linen within radioactive linen container. |
| Housekeeping Instructions | Normal housekeeping activities must be suspended until the patient has been discharged and the room has been decontaminated by Radiation Safety personnel. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed. No Trash or linens shall be taken out of the room without proper authorization from radiation safety. |
| Shielding | 1" thick bedside shields shall be positioned around the patient as to minimize the dose rate in uncontrolled areas. |
| Visitors | Pregnant women and those under 18 years of age are not allowed to visit any patient containing radioactive sources. Visiting is limited to 30 minutes per day per visitor. The patient must remain in bed while visitors are in the room. Visitors should sit in the designated visitor’s chair and keep a maximum distance from the patient and must wear protective gowns, gloves, and shoe covers. The nursing staff is responsible for enforcing visiting rules and ensuring that visitors understand the need for isolation. |
| Source Removal | The nursing staff does not have any responsibility in source removal. Sources are permanently implanted. |
| Patient Release | Patient must not be released from the hospital until cleared by radiation oncology brachytherapy center staff. The patient/room survey and patient release form shall be completed by the Brachytherapy center staff and provided to the floor nursing staff. Upon patient release from the hospital the room shall be locked and not used until cleared by radiation safety office. Nursing will contact Radiation Safety office for room decontamination. |
| Room Release | Following patient release, the room is to be secured by nursing and not assigned to another patient until decontamination surveys are completed by Radiation Safety or Radiation Oncology Brachytherapy staff. All lines, gowns and trash must be kept within the room. Radiation Safety (362-3476) must be called to monitor the room and properly dispose of any contaminated material. The nursing station will be notified by Radiation Safety after the room decontamination is complete. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed and the room may be assigned to another patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

RADIOACTIVE IODINE   I-131-TM601

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive iodine that results in external irradiation of others in the room and possible radioactive contamination of the room. External exposure of the nurse may be reduced by providing the required patient care in a minimum of time while maintaining as great a distance from the patient as is practical and working behind shields (if available) when possible. To prevent possible radioactive contamination, the nurses and others admitted to the room should wear disposable shoe covers, gowns, and disposable gloves. These items must be disposed off within designated bags inside or near the entrance to the room. No items that come in contact with the patient shall be taken out of the room without proper survey for contamination. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. The assigned room shall be room 3233 of the 3200 Nursing area. The room should be prepared for minimizing the spread of radioactive contamination. This includes the covering of any possible surfaces that may come in contact with the patient and placement of radioactive trash and linen containers. The radiation safety office or radiation oncology brachytherapy center staff shall make sure the rooms are prepared prior to admitting the patient. |
| Postings and Labels | A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution High Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) Emergency Contact Information (8) NRC Form 3:Notice to Employees. If the patient is admitted, the patient should be identified with a wrist band indicating the presence of radioactive materials. In addition, the patients chart should be identified with the “Radioactive Iodine/Permanent Implant” label. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | General isolation procedures are required for these patients to prevent the spread of radioactive iodine. The patient must remain confined to the room. Isolation personal hygiene kits must be provided to the patient. Patient personal belongings shall be collected prior to admission (or administration) and shall be returned to the patient upon release from the hospital. Certain personal items may be NOT allowed into the room with the patient. Please consult with Radiation Safety or Radiation Oncology. A diet consisting hand-held foods should be scheduled for these patients. If the diet is of the form other than hand-held foods, ensure that only disposable trays, utensils, dishes, and glasses are used. Disposable items brought into the room must be disposed of in the radiation trash bag. Do not perform linen changes. In the event a linen change is required, nursing will be in charge of changing the linen. The removed linen shall be placed in the radiation linen bag inside the patient’s room. Nursing shall contact the Radiation Safety Office for pick up. Patient gown change shall be handled by nursing. The patient should be encouraged to change his/her own gowns. The removed patient gowns shall be placed in the radiation linen bag inside the patient’s room. Nursing will contact the Radiation Safety Office for pickup. No items that the patient may have come in contact with shall be removed from the patient’s room without a survey for contamination. |
| Patient Care Instructions | The patient should be given the maximum care consistent with general isolation procedures. The patient should be encouraged to provide as much self care as possible. Specimens should not be collected without the authorization from radiation oncology. Body fluids spills: If patient vomits or is incontinent on his/her own clothing: wear double gloves, shoe covers, gowns, mask, and eye protector, remove patient clothing and place in radioactive trash bag, have patient take shower and provide with new gowns. Cover spill with double absorbent pads (chucks). Place waste material in the radioactive waste bag and contact Radiation Safety Spill Pager at 314-826-3440 If patient vomits or is incontinent on floor: wear double gloves, shoe covers, gowns, mask, and eye protector, cover spill with absorbent paper (chucks). Instruct patient to remain on bed and contact Radiation Safety Office Spill Pager at 314-826-3440 ; If patient vomits or is incontinent on bed linen: wear double gloves, gowns, mask, shoe covers, and eye protector, remove linen and place in radioactive trash bag, and contact Radiation Safety Spill Pager at 314-826-3440 |
| Patient Instructions | Patients resting out of bed should sit in the designated chair behind shields. Patients should keep well-hydrated and urinate often; sit on the toilet while voiding, minimize time on the toilet, and flush toilet at least 3 times after each use ; Provide as much self-care as possible ; Remain behind portable shields whenever possible ; place all trash in radioactive waste container; place linen within radioactive linen container. |
| Housekeeping Instructions | Normal housekeeping activities must be suspended until the patient has been discharged and the room has been decontaminated by Radiation Safety personnel. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed. No Trash or linens shall be taken out of the room without proper authorization from radiation safety. |
| Shielding | 1" thick bedside shields shall be positioned around the patient as to minimize the dose rate in uncontrolled areas and to visitors. |
| Visitors | Pregnant women and those under 18 years of age are not allowed to visit any patient containing radioactive sources. Visiting is limited to 30 minutes per day per visitor. The patient must remain in bed while visitors are in the room. Visitors should sit in the designated visitor’s chair and keep a maximum distance from the patient and must wear protective gowns, gloves, and shoe covers. The nursing staff is responsible for enforcing visiting rules and ensuring that visitors understand the need for isolation. |
| Source Removal | The nursing staff does not have any responsibility in source removal. Sources are permanently implanted. |
| Patient Release | Patient must not be released from the hospital until cleared by radiation oncology brachytherapy center staff. The patient/room survey and patient release form shall be completed by the Brachytherapy center staff and provided to the floor nursing staff. Upon patient release from the hospital the room shall be locked and not used until cleared by radiation safety office. Nursing will contact Radiation Safety office for room decontamination. |
| Room Release | Following patient release, the room is to be secured by nursing and not assigned to another patient until decontamination surveys are completed by Radiation Safety or Radiation Oncology Brachytherapy staff. All lines, gowns and trash must be kept within the room. Radiation Safety (362-3476) must be called to monitor the room and properly dispose of any contaminated material. The nursing station will be notified by Radiation Safety after the room decontamination is complete. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed and the room may be assigned to another patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

RADIOACTIVE IODINE I-131 NEURADIAB

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive iodine that results in external irradiation of others in the room and possible radioactive contamination of the room. External exposure of the nurse may be reduced by providing the required patient care in a minimum of time while maintaining as great a distance from the patient as is practical and working behind shields (if available) when possible. To prevent possible radioactive contamination, the nurses and others admitted to the room should wear disposable shoe covers, gowns, and disposable gloves. These items must be disposed off within designated bags inside or near the entrance to the room. No items that come in contact with the patient shall be taken out of the room without proper survey for contamination. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. The assigned room shall be room 3233 of the 3200 Nursing area. The room should be prepared for minimizing the spread of radioactive contamination. This includes the covering of any possible surfaces that may come in contact with the patient and placement of radioactive trash and linen containers. The radiation safety office or radiation oncology brachytherapy center staff shall make sure the rooms are prepared prior to admitting the patient. |
| Postings and Labels | A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution High Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) Emergency Contact Information (8) NRC Form 3:Notice to Employees. If the patient is admitted, the patient should be identified with a wrist band indicating the presence of radioactive materials. In addition, the patients chart should be identified with the “Radioactive Iodine/Permanent Implant” label. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | General isolation procedures are required for these patients to prevent the spread of radioactive iodine. The patient must remain confined to the room. Isolation personal hygiene kits must be provided to the patient. Patient personal belongings shall be collected prior to admission (or administration) and shall be returned to the patient upon release from the hospital. Certain personal items may be NOT allowed into the room with the patient. Please consult with Radiation Safety or Radiation Oncology. A diet consisting hand-held foods should be scheduled for these patients. If the diet is of the form other than hand-held foods, ensure that only disposable trays, utensils, dishes, and glasses are used. Disposable items brought into the room must be disposed of in the radiation trash bag. Do not perform linen changes. In the event a linen change is required, nursing will be in charge of changing the linen. The removed linen shall be placed in the radiation linen bag inside the patient’s room. Nursing shall contact the Radiation Safety Office for pick up. Patient gown change shall be handled by nursing. The patient should be encouraged to change his/her own gowns. The removed patient gowns shall be placed in the radiation linen bag inside the patient’s room. Nursing will contact the Radiation Safety Office for pickup. No items that the patient may have come in contact with shall be removed from the patient’s room without a survey for contamination. |
| Patient Care Instructions | The patient should be given the maximum care consistent with general isolation procedures. The patient should be encouraged to provide as much self care as possible. Specimens should not be collected without the authorization from radiation oncology. Body fluids spills: If patient vomits or is incontinent on his/her own clothing: wear double gloves, shoe covers, gowns, mask, and eye protector, remove patient clothing and place in radioactive trash bag, have patient take shower and provide with new gowns. Cover spill with double absorbent pads (chucks). Place waste material in the radioactive waste bag and contact Radiation Safety Spill Pager at 314-826-3440 If patient vomits or is incontinent on floor: wear double gloves, shoe covers, gowns, mask, and eye protector, cover spill with absorbent paper (chucks). Instruct patient to remain on bed and contact Radiation Safety Office Spill Pager at 314-826-3440 ; If patient vomits or is incontinent on bed linen: wear double gloves, gowns, mask, shoe covers, and eye protector, remove linen and place in radioactive trash bag, and contact Radiation Safety Spill Pager at 314-826-3440 |
| Patient Instructions | Patients resting out of bed should sit in the designated chair behind shields. Patients should keep well-hydrated and urinate often; sit on the toilet while voiding, minimize time on the toilet, and flush toilet at least 3 times after each use ; Provide as much self-care as possible ; Remain behind portable shields whenever possible ; place all trash in radioactive waste container; place linen within radioactive linen container. |
| Housekeeping Instructions | Normal housekeeping activities must be suspended until the patient has been discharged and the room has been decontaminated by Radiation Safety personnel. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed. No Trash or linens shall be taken out of the room without proper authorization from radiation safety. |
| Shielding | 1" thick bedside shields shall be positioned around the patient as to minimize the dose rate in uncontrolled areas and to visitors. |
| Visitors | Pregnant women and those under 18 years of age are not allowed to visit any patient containing radioactive material. Visiting is limited to 30 minutes per day per visitor. |
| Source Removal | The nursing staff does not have any responsibility in source removal. Sources are permanently implanted. |
| Patient Release | Patient must not be released from the hospital until cleared by radiation oncology brachytherapy center staff. The patient/room survey and patient release form shall be completed by the Brachytherapy center staff and provided to the floor nursing staff. Upon patient release from the hospital the room shall be locked and not used until cleared by radiation safety office. Nursing will contact Radiation Safety office for room decontamination. |
| Room Release | Following patient release, the room is to be secured by nursing and not assigned to another patient until decontamination surveys are completed by Radiation Safety or Radiation Oncology Brachytherapy staff. All lines, gowns and trash must be kept within the room. Radiation Safety (362-3476) must be called to monitor the room and properly dispose of any contaminated material. The nursing station will be notified by Radiation Safety after the room decontamination is complete. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed and the room may be assigned to another patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

RADIOACTIVE IODINE I-131 MIBG

| General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive iodine that results in external irradiation of others in the room and possible radioactive contamination of the room. External exposure of the nurse may be reduced by providing the required patient care in a minimum of time while maintaining as great a distance from the patient as is practical and working behind shields (if available) when possible. To prevent possible radioactive contamination, the nurses and others admitted to the room should wear disposable shoe covers, gowns, and disposable gloves. These items must be disposed off within designated bags inside or near the entrance to the room. No items that come in contact with the patient shall be taken out of the room without proper survey for contamination. |
| --- | --- |
| Room Priority | All patients receiving radiotherapy must be assigned the priority rooms specified in the Housing section of the nursing services document. No other patients are allowed to share the room. The assigned room shall be room 3233 of the 3200 Nursing area. The room should be prepared for minimizing the spread of radioactive contamination. This includes the covering of any possible surfaces that may come in contact with the patient and placement of radioactive trash and linen containers. The radiation safety office or radiation oncology brachytherapy center staff shall make sure the rooms are prepared prior to admitting the patient. |
| Postings and Labels | A Brachytherapy Technologist will post appropriate information on the room door and/or areas adjacent near patient confinement. Some of the postings are (1) Nursing Procedures and/or Nursing Instructions (2) Patient and Room Radiation Survey/Source Inventory Forms (3) Housekeeping Instructions (4) “Caution Radioactive Materials” (5)“Caution High Radiation Area” (6) Room Status Forms and Room Diagrams (if necessary) (7) Emergency Contact Information (8) NRC Form 3:Notice to Employees. If the patient is admitted, the patient should be identified with a wrist band indicating the presence of radioactive materials. In addition, the patients chart should be identified with the “Radioactive Iodine/Permanent Implant” label. The wrist band must be removed upon patient’s discharge. After discharging patient, all posted forms should be returned to the Siteman Cancer Center / Brachytherapy Center. |
| Isolation Procedures | General isolation procedures are required for these patients to prevent the spread of radioactive iodine. The patient must remain confined to the room. Isolation personal hygiene kits must be provided to the patient. Patient personal belongings shall be collected prior to admission (or administration) and shall be returned to the patient upon release from the hospital. Certain personal items may be NOT allowed into the room with the patient. Please consult with Radiation Safety or Radiation Oncology. A diet consisting hand-held foods should be scheduled for these patients. If the diet is of the form other than hand-held foods, ensure that only disposable trays, utensils, dishes, and glasses are used. Disposable items brought into the room must be disposed of in the radiation trash bag. Do not perform linen changes. In the event a linen change is required, nursing will be in charge of changing the linen. The removed linen shall be placed in the radiation linen bag inside the patient’s room. Nursing shall contact the Radiation Safety Office for pick up. Patient gown change shall be handled by nursing. The patient should be encouraged to change his/her own gowns. The removed patient gowns shall be placed in the radiation linen bag inside the patient’s room. Nursing will contact the Radiation Safety Office for pickup. No items that the patient may have come in contact with shall be removed from the patient’s room without a survey for contamination. |
| Patient Care Instructions | The patient should be given the maximum care consistent with general isolation procedures. The patient should be encouraged to provide as much self care as possible. Specimens should not be collected without the authorization from radiation oncology. Body fluids spills: If patient vomits or is incontinent on his/her own clothing: wear double gloves, shoe covers, gowns, mask, and eye protector, remove patient clothing and place in radioactive trash bag, have patient take shower and provide with new gowns. Cover spill with double absorbent pads (chucks). Place waste material in the radioactive waste bag and contact Radiation Safety Spill Pager at 314-826-3440 If patient vomits or is incontinent on floor: wear double gloves, shoe covers, gowns, mask, and eye protector, cover spill with absorbent paper (chucks). Instruct patient to remain on bed and contact Radiation Safety Office Spill Pager at 314-826-3440 ; If patient vomits or is incontinent on bed linen: wear double gloves, gowns, mask, shoe covers, and eye protector, remove linen and place in radioactive trash bag, and contact Radiation Safety Spill Pager at 314-826-3440 |
| Patient Instructions | Patients resting out of bed should sit in the designated chair behind shields. Patients should keep well-hydrated and urinate often; they should sit on the toilet while voiding, minimize time on the toilet, and flush toilet at least 3 times after each use ; Provide as much self-care as possible ; Remain behind portable shields whenever possible ; place all trash in radioactive waste container; place linen within radioactive linen container. |
| Housekeeping Instructions | Normal housekeeping activities must be suspended until the patient has been discharged and the room has been decontaminated by Radiation Safety personnel. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed. No Trash or linens shall be taken out of the room without proper authorization from radiation safety. |
| Shielding | 1" thick bedside shields shall be positioned around the patient as to minimize the dose rate in uncontrolled areas. |
| Visitors | No Visitors are allowed. Consult with Radiation Safety and/or Radiation Oncology before allowing visitors |
| Source Removal | The nursing staff does not have any responsibility in source removal. Sources are permanently implanted. |
| Patient Release | Patient must not be released from the hospital until cleared by radiation oncology brachytherapy center staff. The patient/room survey and patient release form shall be completed by the Brachytherapy center staff and provided to the floor nursing staff. Upon patient release from the hospital the room shall be locked and not used until cleared by radiation safety office. Nursing will contact Radiation Safety office for room decontamination. |
| Room Release | Following patient release, the room is to be secured by nursing and not assigned to another patient until decontamination surveys are completed by Radiation Safety or Radiation Oncology Brachytherapy staff. All lines, gowns and trash must be kept within the room. Radiation Safety (362-3476) must be called to monitor the room and properly dispose of any contaminated material. The nursing station will be notified by Radiation Safety after the room decontamination is complete. The posted Room Status Form will be turned in to the Nursing station when normal housekeeping duties can be resumed and the room may be assigned to another patient. |
| Patient Emergency | Emergency care can be administered with the source intact in the patient. The wrist band will alert the Emergency Care Team that they should follow proper precautions; maximize their distance from the patient, and minimize their time near the patient. If the patient is moved to another area, he/she should be isolated from other patients and Radiation Oncology must be promptly notified. In case of patients death please notify (1) Refereeing physician, (2) Radiation Oncologist, (3) Radiation Safety Office. |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

Barnes Jewish Hospital/Siteman Cancer Center

Department of Radiation Oncology

NURSING PROCEDURES/INSTRUCTIONS FOR PATIENTS CONTAINING

RADIOACTIVE CHROMIC PHOSPHATE (P-32)

| ## General Instructions | All nurses caring for this patient must be familiar with the Medical Center Nursing Services Policies and Procedures for Patients Containing Therapeutic Quantities of Radioactive Material. This patient contains radioactive phosphates that can contaminate others in the room. Gloves should be worn while providing care. Since this radiation is not very penetrating, no special precautions are necessary. It is advisable to further reduce the radiation to nurses by increasing distance to patient (larger distances reduce the radiation more) and by minimizing the time spent near the patient. Consistent with adequate patient care, carry out nursing procedures close to the patient in the minimum amount of time. |
| --- | --- |
| Room Priority | Patient should be assigned a private room without sharing room with other patients. |
| Posting and Labels | A warning sign bearing the words, "Caution Radioactive Materials" will be posted on the room door. A copy of this nursing instruction shall be posted on the door. Both shall be removed from the door upon discharging the patient. |
| Patient Care | This patient may have received this radioisotope via injection. If so, it is possible that the injection site may leak or discharge a small amount of liquid radioactivity, particularly shortly after the injection. Any dressings or bandages removed from the injection site should be handled with gloves as if they were radioactive. The gloves and dressings should be placed into a special radioactive waste bag and stored separately. Some patients may have to be turned over in bed frequently to ensure a uniform distribution of activity in the patient. Linens should be placed in a bag and stored separately until they are surveyed by Radiation Oncology Physics personnel. No special precautions are needed for sputum, emesis, stool, instruments, or utensils. |
| ## Housekeeping | Housekeeping personnel should minimize their time in the room and keep their distance from the patient. |
| Visitors | Pregnant women and those under 18 years of age are not allowed to visit any patient containing radioactive material. Visiting is limited to 30 minutes per day per visitor. The nursing staff is responsible for enforcing visiting rules. |
| Patient Emergency | Emergency care can be administered to the patient. Maintaining distance from the patient and minimizing time near the patient should be done only if practical. If the patient is moved to another area, Radiation Oncology must be immediately notified (see Radioisotope Emergencies below for instructions). |
| Emergency Contact Information | (1) During business hours first call Brachytherapy Technologist On Call ( 826-3737 ) (2) If no answer or after hours Page the Brachytherapy Physicist on call (424-9918). (3) If there is no answer page Radiation Safety Office (826-3440) and Radiation Oncology Resident On-Call (253-0553) |

BELOW ARE THE RADIOACTIVE MATERIALS SIGNS AND POSTINGS FOR THE PARTICULAR THERAPIES.  NURSING STAFF SHOULD PLACE SUCH POSTINGS AT THE DOORS OF PATIENTS CONTAINING RADIOACTIVE MATERIALS

BJC/SCC

THERAPEUTIC RADIOACTIE MATERIALS THERAPY

THIS PATIENT CONTAINS ONE OF THE FOLLOWING LOW EXPOSURE LEVEL RADIOACTIVE MATERIALS

I-125 Seeds (Eye/Prostate/Lungs) Implants

READ POSTINGS

BEFORE ENTERING THE ROOM

BEFORE GOING INTO THE ROOM VISITORS AND HOUSKEEPING MUST CONTACT NURSING STAFF FOR INSTRUCTIONS

FOR RADIATION ONCOLOGY QUESTIONS CALL:  362-7872 OR 424-9918 (PAGER)

RADIATION SAFETY ROOM SURVEY/QUESTIONS CALL: 362-3476

RADIATION SAFETY EMERGENCY: 826-3440

BJC/SCC

THERAPEUTIC RADIOACTIE MATERIALS THERAPY

THIS PATIENT CONTAINS ONE OF THE FOLLOWING LOW EXPOSURE LEVEL RADIOACTIVE MATERIALS

Y-90 (Zevalin/SirTex/Theraspheres)

SM-153 (Quadramet)

P-32 (Sodium Phosphate)

READ POSTINGS

BEFORE ENTERING THE ROOM

VISITORS AND HOUSKEEPING MUST CONTACT NURSING STAFF FOR INSTRUCTIONS

LINENS AND TRASH MUST BE KEPT WITHIN THE ROOM UNTIL SURVEY BY RADIATION SAFETY

FOR RADIATION ONCOLOGY QUESTIONS CALL:  362-7872 OR 424-9918 (PAGER)

RADIATION SAFETY ROOM SURVEY/QUESTIONS CALL: 362-3476

RADIATION SAFETY EMERGENCY: 826-3440

BJC/SCC

THERAPEUTIC RADIOACTIE MATERIALS THERAPY

THIS PATIENT CONTAINS ONE OF THE FOLLOWING RADIOACTIVE MATERIASL

IODINE -131(MIBG/BRAD/TM601/NAI)

READ POSTINGS

BEFORE ENTERING THE ROOM

RADIATION ISOLATION PATIENT

HOUSEKEPING SUSPENDED

VISITORS MUST CONTACT NURSING BEFORE ENTERING

LINENS AND TRASH MUST BE KEPT WITHIN THE ROOM UNTIL SURVEY BY RADIATION SAFETY

FOR RADIATION ONCOLOGY QUESTIONS CALL:  362-7872 OR 424-9918 (PAGER)

RADIATION SAFETY ROOM SURVEY/QUESTIONS CALL: 362-3476

RADIATION SAFETY EMERGENCY: 826-3440